**New York State Council on Human Blood and Transfusion Services**

GUIDELINES FOR

VISUAL INSPECTION

2025

New York State Council on Human Blood and Transfusion Services

New York State Department of Health

Wadsworth Center

Empire State Plaza

Albany, New York 12237

*Requests for copies of this publication may be directed to:*

Blood Resources Program

New York State Department of Health Wadsworth Center

Empire State Plaza

Albany, New York 12237

E-mail: [brp@health.ny.gov](mailto:brp@health.ny.gov)

Website: [www.wadsworth.org/regulatory/blood-program](http://www.wadsworth.org/regulatory/blood-program)

**NEW YORK STATE**

**COUNCIL ON HUMAN BLOOD AND TRANSFUSION SERVICES**

**Membership Roster - 2025**

Timothy Hilbert, MD, PhD, JD

Chairperson

Medical Director, Blood Bank and Transfusion Service

NYU Langone Medical Center

New York, NY

Joanne Becker, MD

Roswell Park Cancer Center

Buffalo, NY

Alexandra Budhai, MD

Assistant Director, Transfusion Service

Laboratory Director, MSKCC Clinical Laboratory at Westchester

Assistant Attending

Department of Pathology and Laboratory Medicine

New York, NY

Rachel Elder, MD

Laboratory Director

Crouse Hospital

Syracuse, NY

David Huskie, RN

Public Representative

Jessica Jacobson, MD

Laboratory Director and Chief of Pathology

Director Blood Bank and Transfusion Medicine

New York City Health + Hospital / Bellevue

New York, NY

Phillip McCarthy, Jr., MD Blood and Marrow Transplant Program

Roswell Park Cancer Institute

Buffalo, NY

Amy Schmidt, MD, PhD

Medical Director of Transfusions Medicine and Blood Collections

Director of Quality – HCA Healthcare Continental Division Center Physician – Octapharma

Syracuse, NY

Beverly Rauch

Commissioner’s Designee

Deputy Director, Division of Laboratory Quality Certification

Wadsworth Center

New York State Department of Health Albany, New York

**NEW YORK STATE**

**COUNCIL ON HUMAN BLOOD AND TRANSFUSION SERVICES** **GUIDELINES FOR VISUAL INSPECTION**

# INTRODUCTION

Section 58-2.6 (g) of 10 NYCRR requires that whole blood and red cell components be visually inspected during storage and upon issuance.

* The purpose of this rule is to identify physical changes in the blood component that may indicate bacterial contamination, i.e., discoloration of the component. This can be accomplished via a visual scan of the blood components in the refrigerator and does not necessitate additional individual handling of the products.
* Inventory of blood components is happening on a regular basis and visual inspection is occurring naturally during this review.
* Laboratories must include information about visual inspection into their existing standard operating procedures for routine monitoring (e.g., inventory or temperature monitoring) of blood components.
* The frequency of visual inspection must be determined by the blood bank director and incorporated into the standard operating procedures.
* Explicit documentation of visual inspection is not required; however, this step may be added to existing checklists, e.g. temperature checks, etc. Blood bank employees must be prepared to attest that visual inspection is performed as part of routine monitoring.